## ST 6
Supplemetary Table 6. Performance of PLD-GR method in quantitative real-time PCR fast mode
samples
| slope | R2 |  | 1% A | 1% B | 0.1% C | 0.1 % D
plate1 | -3.2257 | 0.99656 | mean Cq | 28.9755 | 29.4268 | 32.5149 | 32.8411
|  |  | mean ng | 0.48141 | 0.34824 | 0.038667 | 0.030568
|  |  | mean % | 1.2035 | 0.8706 | 0.096668 | 0.07642
|  |  | SDr | 0.11674 | 0.06587 | 0.015124 | 0.010065
plate2 | -3.17 | 0.99261 | mean Cq | 28.6941 | 29.2085 | 32.4717 | 32.8528
|  |  | mean ng | 0.5765 | 0.39644 | 0.037037 | 0.028218
|  |  | mean % | 1.4412 | 0.99109 | 0.092592 | 0.070545
|  |  | SDr | 0.1244 | 0.069817 | 0.0059388 | 0.0091768
parameters |  |  | acceptance criteria | 1% |  | 0.1%
efficiency % | 103.127 |  | 90-110
linearity |  | 0.99459 | ≥0.98
trueness % |  |  | ≤ 25 | 12.6614 |  | 15.9437
precision (RSDr) % |  |  | ≤ 25 | 16.7238 |  | 23.9751
1% A and 0.1% C: reference sample obtained from DNA flour rice diluting with non-modified soybean DNA
1% B and 0.1% D: reference sample obtained from DNA flour rice diluting with non-modified maize DNA
Cq: cycle quantification
SDr: standard deviation of repeatability.
RSDr: relative repeatability standard deviation
PLD-GR: phospholipase D α2 gene