## Tabelle1
ROC Analysis for the evaluation of the best-fit threshold in standard DPRA, qDPRA and kinetic DPRA
Sens = sensitivity; Spec = specificity; Acc = accuracy
Standard DPRACys&Lys | Cut-off [% mean peptide depletion] | ∑ true results | ∑ false results | Spec [%] | Sens [%] | Acc [%]
| 22.87 | 70 | 36 | 40 | 98 | 66
| 44.73 | 72 | 34 | 55 | 83 | 68
Overview of the two cut-off values for the best-fit separation of GHS 1A and 1B sensitizers based on DPRA results. 106 of the 123 substances were considered for the analyses, the 17 false positives in the DPRA (compared to LLNA data) were not considered for this calculation
qDPRACys&Lys | Cut-off EC 6.38% [mM] | ∑ true results | ∑ false results | Spec [%] | Sens [%] | Acc [%]
| 2.55 | 29 | 6 | 89 | 75 | 83
Best-fit separation of the GHS subcategories 1A and 1B based on EC6.38 values for mean peptide depletion using ROC analyses (PM5). 35 Of the 36 substances were considered for the ROC analysis, since one substance was classified as non-sensitizer in the LLNA
qDPRACys-only | Cut-off EC 13.89 [mM] | ∑ true results | ∑ false results | Spec [%] | Sens [%] | Acc [%]
| 7.96 | 26 | 6 | 71 | 93 | 81
Best-fit separation of the GHS subcategories 1A and 1B based on EC13.89% for cysteine peptide depletion using a cut-off determined by ROC analysis
Kinetic DPRA | Cut-off log k [mM] | ∑ true results | ∑ false results | Spec [%] | Sens [%] | Acc [%]
| -1,7317 | 19 | 1 | 92 | 100 | 95
Best-fit separation of the GHS subcategories 1A and 1B based on the reaction rate constant k using a cut-off determined by ROC analysis