## Sheet1
Category | Reference | Approach for preparing RNA from nasopharyngeal swab or cell samples* | Time for RNA preparation** (minutes) | Amplification and detection approach | Time for amplification and detection (minutes) | Form of readout | Sample tested | Accuracy (%) when n patient samples are tested | Limit of Detection (LoD) quoted in the original paper | Type of spike-in for LoD determination | Standardized LoD (minimum detectable viral RNA copies) | Throughput of Detection*** | Approximate consumable cost per test (USD) | Time to complete the test (minutes)
PCR-based methods | Ladha A, Joung J, Abudayyeh OO, Gootenberg JS, Zhang F. A 5-min RNA preparation method for COVID-19 detection with RT-qPCR. Broad Institute webpage. Accessed April 23, 2020. | Lyse cells at 95C in QuickExtract DNA Extraction Solution | 5 | RT-PCR | 80 | Ct | Patient or synthetic RNA | 100, n=4 | 10 RNA copies/reaction | RNA | 10 | High | 4 | 85
| Fomsgaard AS, Rosenstierne MW. An alternative workflow for molecular detection of SARS-CoV-2 - escape from the NA extraction kit-shortage. medRxiv. 2020. doi:10.1101/2020.03.27.20044495 | Lyse cells at 95C or 98C | 7 | RT-PCR | 80 | Ct | Patient | 97.4, n=60 | Not reported | NA | NA | High | 3.9 | 87
| Bruce EA, Tighe S, Hoffman JJ, et al. RT-qPCR DETECTION OF SARS-CoV-2 RNA FROM PATIENT NASOPHARYNGEAL SWAB USING QIAGEN RNEASY KITS OR DIRECTLY VIA OMISSION OF AN RNA EXTRACTION STEP. bioRxiv. 2020. doi:10.1101/2020.03.20.001008 | Lyse cells at 95C | 10 | RT-PCR | 60 | Ct | Patient | 92, n=155 | 1, 3 & 5uL of swab sample/reaction | NA | NA | High | 3.9 | 70
| Sentmanat M, Kouranova E, Cui X. One-step RNA extraction for RT-qPCR detection of 2019-nCoV. bioRxiv. 2020. doi:10.1101/2020.04.02.022384 | Lyse cells in QuickExtract DNA Extraction Solution first at 65C and then at 98C | 20 | RT-PCR | 80 | Ct | Patient | Not reported | Not reported | NA | NA | High | 4.2 | 100
| Grant PR, Turner MA, Shin GY, Nastouli E, Levett LJ. Extraction-free COVID-19 (SARS-CoV-2) diagnosis by RT-PCR to increase capacity for national testing programmes during a pandemic. bioRxiv. 2020. doi:10.1101/2020.04.06.028316 | Lyse cells at 95C | 10 | RT-PCR | 56 | Ct | Patient | 98.8, n=169 | Not reported | NA | NA | High | 3.5 | 66
| Arumugam AR, Wong, S. The Potential Use of Unprocessed Sample for RT-qPCR Detection of COVID-19 without an RNA extraction Step. bioRxiv. April 2020. doi:10.1101/2020.04.06.028811v1 | Direct transfer | 0 | RT-PCR | 80 | Ct | Sera Care AccuPlex Reference Material spiked into mock patient samples | NA | 5 genomic material equivalents of SARS-CoV-2/reaction | RNA | 5 | High | 3.9 | 80
| Alcoba-Florez J, Gonzalez-Montelongo R, Inigo-Campos A, et al. Fast SARS-CoV-2 detection by RT-qPCR in preheated nasopharyngeal swab samples. medRxiv. April 2020:2020.04.08.20058495. doi:10.1101/2020.04.08.20058495 | Lyse cells at 70C | 10 | RT-PCR | 74 | Ct | Patient | 87.8, n=90 | Not reported | NA | NA | High | 3.9 | 84
| Merindol N, Pépin G, Marchand C, et al. Optimization of SARS-CoV-2 detection by RT-QPCR without RNA extraction. BioRxiv. doi:10.1101/2020.04.06.028902 | Direct transfer | 0 | RT-PCR | 80 | Ct | Patient | 85.7, n=7 | Not reported | NA | NA | High | 3.6 | 80
| Marzinotto S, Mio C, Cifù A, et al. A streamlined approach to rapidly detect SARS-CoV-2 infection, avoiding RNA purification. medRxiv. doi:10.1101/2020.04.06.20054114 | Lyse cells at 55C in the presence of Proteinase K and then heat at 98C | 22 | RT-PCR | 80 | Ct | Patient | Not reported | 10 RNA copies in 5uL of swab sample | RNA | 10 | High | 4.3 | 102
| Wee SK, Sivalingam SP, Yap, EPH. Rapid direct nucleic acid amplification test without RNA extraction for SARS-CoV-2 using a portable PCR thermocycler. bioRxiv. April 2020. doi:10.1101/2020.04.17.042366 | DTT/RNaseI treatment | 0 | RT-PCR | 36 | Ct | Synthetic RNA spiked into mock patient samples | NA | 6 RNA copies/reaction | RNA | 6 | High | 5.6 | 36
| CDC 2019-Novel Coronavirus (2019-NCoV) Real-Time RT-PCR Diagnostic Panel For Emergency Use Only Instructions for Use.; 2020. | Extraction kit | 30 | RT-PCR | 80 | Ct | Synthetic RNA spiked into mock patient samples | 100, n=20 | 1 to 3.16 RNA copies/uL of mimicked swab sample | RNA | 1 | High | 9.6 | 110
| Hogan CA, Sahoo MK, Pinsky BA. Sample Pooling as a Strategy to Detect Community Transmission of SARS-CoV-2. JAMA. 2020. doi:10.1001/jama.2020.5445 | Extraction kit | 30 | RT-PCR | 40 | Ct | Patient | Not reported | Not reported | NA | NA | Very high | 7.7 | 70
| Xu J, Wang J, Zhong Z, et al. Room-temperature-storable PCR Mixes for SARS-CoV-2 Detection (Running title: SARS-CoV-2 Molecular Diagnosis). bioRxiv. April 2020. doi:10.1101/2020.04.07.029934 | Extraction kit | 30 | RT-PCR | 45 | Ct | Patient | 100, n=26 | Not reported | NA | NA | High | 8.9 | 75
| Xpert® Xpress SARS-CoV-2, https://www.cepheid.com/coronavirus, Accessed April 20, 2020. | Not disclosed, but involving extraction | Not disclosed | RT-PCR | Not disclosed | Ct | Synthetic RNA spiked into mock patient samples | 100, n=60 | 125 genome equivalents/mL | RNA | 125 | High | 45 | 13
| ID NOW™ COVID-19, https://www.alere.com/en/home/product-details/id-now-covid-19.html, Accessed April 20, 2020. | Not disclosed, but involving extraction | Not disclosed | RT-PCR | Not disclosed | Ct | Sera Care AccuPlex Reference Material spiked into mock patient samples | 100, n=65 | 250 copies/mL | RNA | 250 | High | 20 | 45
| Kalikiri MKR, Mohammad ;, Hasan R, et al. High-throughput extraction of SARS-CoV-2 RNA from nasopha-ryngeal swabs using solid-phase reverse immobilization beads. medRxiv. April 2020. doi:10.1101/2020.04.08.20055731 | Bead-based extraction | 60 | RT-PCR | 80 | Ct | Patient | 99, n=94 | Not reported | NA | NA | High | 8.4 | 140
| Zhao Z, Cui H, Song W, Ru X, Zhou W, Yu X. A simple magnetic nanoparticles-based viral RNA extraction method for efficient detection of SARS-CoV-2. bioRxiv. February 2020. doi:10.1101/2020.02.22.961268 | Nanoparticle-based extraction | 20 | RT-PCR | 80 | Ct | Pseudovirus in serum | NA | 10 pseudoviruses per experiment (200uL serum) | Pseudovirus | 10 | High | >3.8***** | 100
| Won J, Lee S, Park M, et al. Development of a Laboratory-safe and Low-cost Detection Protocol for SARS-CoV-2 of the Coronavirus Disease 2019 (COVID-19). Exp Neurobiol. March 2020. doi:10.5607/en20009 | Extraction kit | 60 | RT-PCR | 160 | Ct | Patient | Not reported | 1 copy of lentiviral gene per reaction | Lentivirus gene | 1 | High | 13.7 | 220
| Brown JR, O’sullivan D, Pereira RP, et al. Comparison of SARS-CoV2 N gene real-time RT-PCR targets and commercially available mastermixes. bioRxiv. April 2020. doi:10.1101/2020.04.17.047118 | Extraction kit | 30 | RT-PCR (Takara One Step PrimeScript III RT-PCR kit) | 56 | Ct | Patient | Not reported | <1 copy/uL, 7.5uL is used for each reaction | Phocine distemper virus | 3.75 | High | 4.8 | 86
| Brown JR, O’sullivan D, Pereira RP, et al. Comparison of SARS-CoV2 N gene real-time RT-PCR targets and commercially available mastermixes. bioRxiv. April 2020. doi:10.1101/2020.04.17.047118 | Extraction kit | 30 | RT-PCR (Qiagen Quantifast Multiplex RT-PCR + R mastermix) | 84 | Ct | Patient | Not reported | <1 copy/uL, 7.5uL is used for each reaction | Phocine distemper virus | 3.75 | High | 5.3 | 114
| Brown JR, O’sullivan D, Pereira RP, et al. Comparison of SARS-CoV2 N gene real-time RT-PCR targets and commercially available mastermixes. bioRxiv. April 2020. doi:10.1101/2020.04.17.047118 | Extraction kit | 30 | RT-PCR (ThermoFisher TaqPath 1-step RT-qPCR MasterMix) | 69 | Ct | Patient | Not reported | <1 copy/uL, 7.5uL is used for each reaction | Phocine distemper virus | 3.75 | High | 5.6 | 99
| Brown JR, O’sullivan D, Pereira RP, et al. Comparison of SARS-CoV2 N gene real-time RT-PCR targets and commercially available mastermixes. bioRxiv. April 2020. doi:10.1101/2020.04.17.047118 | Extraction kit | 30 | RT-PCR (ThermoFisher Taqman Fast Virus 1-step mastermix) | 55 | Ct | Patient | Not reported | 10 copies/uL, 7.5uL is used for each reaction | Phocine distemper virus | 75 | High | 5.3 | 85
LAMP-based methods | González-González E, Montserrat Lara-Mayorga I, García-Rubio A, et al. Scaling diagnostics in times of COVID-19: Rapid prototyping of 3D-1 printed water circulators for Loop-mediated Isothermal Amplification 2 (LAMP) and detection of SARS-CoV-2 virus 3 4. medRxiv. April 2020. doi:10.1101/2020.04.09.20058651 | NA (DNA is used as the LAMP template) | 0 | LAMP | 40 | Colorimetric | DNA | NA | 625 DNA copies | DNA | 625 | Medium | 9.3 | 40
| Zhang Y, Odiwuor N, Xiong J, et al. Rapid Molecular Detection of SARS-CoV-2 (COVID-19) Virus RNA Using Colorimetric LAMP. medRxiv. 2020. doi:10.1101/2020.02.26.20028373 | Extraction kit | 21 | RT-LAMP | 30 | Colorimetric | Patient or synthetic RNA | 85.7, n=7 | 1200 RNA copies/reaction | RNA | 1200 | Medium | 8.8 | 51
| Zhang Y, Odiwuor N, Xiong J, et al. Rapid Molecular Detection of SARS-CoV-2 (COVID-19) Virus RNA Using Colorimetric LAMP. medRxiv. 2020. doi:10.1101/2020.02.26.20028373 | Lyse cells using Luna Cell Redy Lysis Module | 0 | RT-LAMP | 30 | Colorimetric | RNA spiked into cell lysates | NA | 480 RNA copies/reaction | RNA | 480 | Medium | 8.1 | 30
| Park G-S, Ku K, Baek S-H, et al. Development of Reverse Transcription Loop-Mediated Isothermal Amplification Assays Targeting SARS-CoV-2. J Mol Diagnostics. April 2020. doi:10.1016/j.jmoldx.2020.03.006 | Extraction kit | 30 | RT-LAMP | 30 | Colorimetric | RNA from cell lysate | NA | 100 RNA copies/reaction | RNA | 100 | Medium | 8.5 | 60
| Yan C, Cui J, Huang L, et al. Rapid and visual detection of 2019 novel coronavirus (SARS-CoV-2) by a reverse transcription loop-mediated isothermal amplification assay. Clin Microbiol Infect. April 2020. doi:10.1016/j.cmi.2020.04.001 | Extraction kit | 30 | RT-LAMP | 60 | Colorimetric | Patient or synthetic RNA | 100, n=130 | 20 RNA copies/reaction | RNA | 20 | Medium | 9.3 | 90
| Österdahl MF, Lee KA, Lochlainn MN, et al. Detecting SARS-CoV-2 at point of care: Preliminary data comparing Loop-mediated isothermal amplification (LAMP) to PCR. medRxiv. doi:10.1101/2020.04.01.20047357 | Not disclosed, but involves bead-based extraction | Not disclosed | RT-LAMP | Not disclosed | Colorimetric | Patient | 76, n=21 | Not reported | NA | NA | Medium | NA****** | 25
| Mehmood Butt A, Siddique S, An X, Tong Y. Development of a dual-gene loop-mediated isothermal amplification (LAMP) detection assay for SARS-CoV-2: A preliminary study. medRxiv. April . doi:10.1101/2020.04.08.20056986 | Extraction kit | 30 | RT-LAMP | 40 | Colorimetric | Patient | 95, n=45 | Not reported | NA | NA | Medium | 8.8 | 70
| Yang W, Dang X, Wang Q, et al. Rapid Detection of SARS-CoV-2 Using Reverse transcription RT-LAMP method. medRxiv. March . doi:10.1101/2020.03.02.20030130 | Extraction kit | 30 | RT-LAMP | 60 | Colorimetric | Patient | 99, n=208 | 5 copies/mL (qualitative inference) | NA | 5 | Medium | 9.3 | 90
| Yu L, Wu S, Hao X, et al. Rapid colorimetric detection of COVID-19 coronavirus using a reverse tran-scriptional loop-mediated isothermal amplification (RT-LAMP) diagnostic plat-form: iLACO. medRxiv. February . doi:10.1101/2020.02.20.20025874 | Extraction kit | 30 | RT-LAMP | 40 | Colorimetric | Patient or synthetic RNA | 97.6, n=43 | 10 RNA copies/Reaction | RNA | 10 | Medium | 8.9 | 70
| Jiang M, Pan W, Aratehfar A, et al. Development and validation of a rapid, single-step reverse transcriptase loop-mediated isothermal amplification (RT-LAMP) system potentially to be used for reliable and high-throughput screening of COVID-19. medRxiv. March . doi:10.1101/2020.03.15.20036376 | Extraction kit | 30 | RT-LAMP | 30 | Colorimetric | Patient or synthetic RNA | 98.4, n=255 | 500 RNA copies/mL | RNA | 500 | Medium | 8.5 | 60
| Broughton JP, Deng X, Yu G, et al. CRISPR-Cas12-based detection of SARS-CoV-2. Nat Biotechnol. April 2020:1-5. doi:10.1038/s41587-020-0513-4 | Extraction kit | 10 | RT-LAMP with CRISPR-Cas12a-assisted nucleic acid detection | 20 (for amplification) plus 12 (for CRISPR detection) | Fluorescence or lateral flow | Patient or synthetic RNA | 95, n=40 | 10 RNA copies/uL input | RNA | 10 | Low | 11.2 | 42
RAA-based methods | Guo L, Sun X, Wang X, et al. SARS-CoV-2 detection with CRISPR diagnostics. bioRxiv. April 2020. doi:10.1101/2020.04.10.023358 | Extraction kit | 30 | RT-RAA with CRISPR-Cas12b-assisted nucleic acid detection | 30 (for amplification) plus 20 (for CRISPR detection) | Fluorescence | Synthetic RNA or Pseudotype virus | NA | 5000 RNA copies/mL | Pseudovirus | 5000 | Medium | >11.0***** | 80
RPA-based methods | Ding X, Yin K, Li Z, Liu C. All-in-One Dual CRISPR-Cas12a (AIOD-CRISPR) Assay: A Case for Rapid, Ultrasensitive and Visual Detection of Novel Coronavirus SARS-CoV-2 and HIV virus. bioRxiv. March 2020:2020.03.19.998724. doi:10.1101/2020.03.19.998724 | Extraction kit**** | 30 | RT-RPA with CRISPR-Cas12a-assisted nucleic acid detection | 40 | Fluorescence | Synthetic RNA | NA | 4.6 RNA copies/reaction | RNA | 4.6 | Medium | 10.4 | 70
| Lucia C, Federico PB, Alejandra GC. An ultrasensitive, rapid, and portable coronavirus SARS-CoV-2 sequence detection method based on CRISPR-Cas12. bioRxiv. 2020;(11):2020.02.29.971127. doi:10.1101/2020.02.29.971127 | Extraction kit**** | 30 | RT-RPA with CRISPR-Cas12a-assisted nucleic acid detection | 30 (for amplification) plus 30 (for CRISPR detection) | Fluorescence or lateral flow | Mock patient sample or synthetic RNA | NA | 10 copies/uL | RNA | 10 | Low | 16.9 (lateral flow readout), 14.6 (fluorescence readout) | 90
| Zhang​ F, Abudayyeh​ OO, Gootenberg​ JS. A Protocol for Detection of COVID-19 Using CRISPR Diagnostics.; 2020. https://www.broadinstitute.org/files/publications/special/COVID-19 detection (updated).pdf. Accessed April 23, 2020. | Extraction kit | 30 | RT-RPA with CRISPR-Cas13a-assisted nucleic acid detection | 25 (for amplification) plus 32 (for CRISPR detection) | Lateral flow | Patient | Not reported | 10 RNA copies/reaction | RNA | 10 | Low | 12.8 | 87
| Metsky HC, Freije CA, Kosoko-Thoroddsen T-SF, Sabeti PC, Myhrvold C. CRISPR-based surveillance for COVID-19 using genomically-comprehensive machine learning design. bioRxiv. March 2020. doi:10.1101/2020.02.26.967026 | Extraction kit**** | 30 | RT-RPA with CRISPR-Cas13a-assisted nucleic acid detection | 20 (for amplification) plus 32 (for CRISPR detection) | Fluorescence or lateral flow | Synthetic RNA | NA | 10 RNA copies/uL | RNA | 10 | Low | 19.3 (lateral flow readout), 16.9 (fluorescence readout) | 82
| Hou T, Zeng W, Yang M, et al. Development and Evaluation of A CRISPR-based Diagnostic For 2019-novel Coronavirus. medRxiv. February 2020:2020.02.22.20025460. doi:10.1101/2020.02.22.20025460 | Extraction kit | 30 | RT-RPA with CRISPR-Cas13a-assisted nucleic acid detection | 30 (for amplification) plus 10 (for CRISPR detection) | Fluorescence | Patient or plasmid DNA | 100, n=114 | 7.5 copies/reaction | Plasmid | 7.5 | Low | 10.4 | 70
RAMP-based methods | El-Tholoth M, Bau HH, Song J. A Single and Two-Stage, Closed-Tube, Molecular Test for the 2019 Novel Coronavirus (COVID-19) at Home, Clinic, and Points of Entry. ChemRxiv. February 2020. doi:10.26434/CHEMRXIV.11860137.V1 | Extraction kit | 30 | RAMP | 55 | Ct | DNA | NA | 7 DNA copies/reaction | DNA | 7 | Medium | 11.3 | 85
| El-Tholoth M, Bau HH, Song J. A Single and Two-Stage, Closed-Tube, Molecular Test for the 2019 Novel Coronavirus (COVID-19) at Home, Clinic, and Points of Entry. ChemRxiv. February 2020. doi:10.26434/CHEMRXIV.11860137.V1 | Lyse cells at 65C | 15 | RAMP | 55 | Colorimetric | HIV viral partices spiked into mock patient samples | 100, n=4 | 7 RNA copies/reaction | HIV viral particle | 7 | Medium | 7.4 | 70
Droplet digital PCR-based methods | Marzinotto S, Mio C, Cifù A, et al. A streamlined approach to rapidly detect SARS-CoV-2 infection, avoiding RNA purification. medRxiv. doi:10.1101/2020.04.06.20054114 | Lyse cells at 55C with Proteinase K and heat at 98C | 22 | RT-ddPCR | 80 | Fluorescence | Patient | Not reported | 10 RNA copies in 5uL of swab sample | RNA | 10 | Medium | 8.7 | 102
| Suo T, Liu X, Guo M, et al. ddPCR: a more sensitive and accurate tool for SARS-CoV-2 detection in low viral load specimens. medRxiv. March 2020:2020.02.29.20029439. doi:10.1101/2020.02.29.20029439 | Extraction kit | 30 | ddPCR | 70 | Fluorescence of droplets | Patient | 94.3, n=35, identifies positives that are undetectable via RT-qPCR | 0.02 copies SARS-COV-2 DNA/uL input | DNA | Not enough information avaialble for the calculation | Medium | 8.7 | 100
| Lu R, Wang J, Li M, Wang Y, Dong J, Cai W. SARS-CoV-2 detection using digital PCR for COVID-19 diagnosis, treatment monitoring and criteria for discharge. medRxiv. March 2020:2020.03.24.20042689. doi:10.1101/2020.03.24.20042689 | Extraction kit | 30 | dPCR | 85 | Fluorescence of droplets | Patient | 96.3, n=109 | 10-fold lower than that of RT-PCR control [of this study] | NA | NA | Low | 8.8 | 115
Sequencing-based methods | Wang M, Fu A, Hu B, et al. Nanopore target sequencing for accurate and comprehensive detection of SARS-CoV-2 and other respiratory viruses. medRxiv. March 2020:2020.03.04.20029538. doi:10.1101/2020.03.04.20029538 | Extraction kit | 40 | PCR and Nanopore sequencing | 40.5 (for amplification) plus 60 (for Nanopore sequencing) | Sequencing reads | Patient or synthetic cDNA | 100, n=61, identifies positives that are undetectable via RT-qPCR | 10 control plasmid copies in mock swab/mL | Plasmid | 10 | Low | 17.4 | 140.5
| Chandler-Brown D, Bueno AM, Atay O, STsao D. A Highly Scalable and Rapidly Deployable RNA Extraction-Free COVID-19 Assay by Quantitative Sanger Sequencing. bioRxiv. April 2020. doi:10.1101/2020.04.07.029199 | Extraction kit | 30 | PCR and Sanger sequencing | 119 | Sequencing reads | Synthetic RNA or SeraCare AccuPlex Reference Material as mock patient sample | 95, n=64 (mock patients) | 10-20 genome copy equivalents/reaction | RNA | 10 | High | 6.1 | 149
| Octant SwabSeq Testing. https://www.notion.so/Octant-SwabSeq-Testing-9eb80e793d7e46348038aa80a5a901fd. Accessed April 23, 2020. | Lyse cells in Cells-II-cDNA lysis buffer | 10 | RT-PCR and Next-Generation Sequencing | 58 (for amplification) plus 453 (for high-throughput sequencing) | Sequencing reads | Patient or synthetic RNA | 100, n=3 | 5 RNA copies/reaction | RNA | 5 | Very high | 17 | 521
* | Swab samples are collected in molecular grade water or viral transport media (VTM) unless otherwise noted.
** | The time it takes to extract RNA using commercial kits is estimated to be 30 minutes unless otherwise noted.
*** | Low: Tests are run individually and have to be transferred to a different container (e.g., another reaction tube) or a secondary detection method (e.g., lateral flow).
Medium: Tests are run individually but are detected without transfer.
High: Tests can be run in a large format plate (e.g., 96-well)
Very high: Tests can be run in multiplexed format (samples/test > 96)
**** | Synthetic RNA sample is used in the current study. RNA extraction kits will be required to process patient samples according to the protocol.
***** | A key reagent is home-made and not commercially available.
****** | Using a test kit that is not commercially available.