## Sheet1
Category | Reference | Reagent | Catalog number | Cost per order (USD) | Number of tests per order | Cost per test (USD)
RT-PCR | CDC 2019-Novel Coronavirus (2019-NCoV) Real-Time RT-PCR Diagnostic Panel For Emergency Use Only Instructions for Use.; 2020. | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | QIAamp DSP Viral RNA Mini Kit | QIAGEN #61904 | 286 | 50 | 5.72
|  | TaqPath™ 1-Step RT-qPCR Master Mix, CG | Thermo Fisher A15300, 1x10mL | 3875 | 2000 | 1.9375
|  | 2019-nCoV RUO Kit (2 primers and 1 probe) | IDT #10006713 | 99 | 500 | 0.198
|  | Nuclease-free water | ThermoFisher Scientific #10977015 | 39.23 | 50000 | 0.0007846
|  | 0.2 ml PCR reaction plates | Fisher Scientific #4366932 | 946 | 19200 | 0.049271
|  | MicroAmp Optical 8-cap Strips | Thermo Fisher #4323032 | 126 | 2400 | 0.0525
|  | Total |  |  |  | 9.5888
| Ladha A, Joung J, Abudayyeh OO, Gootenberg JS, Zhang F. A 5-min RNA preparation method for COVID-19 detection with RT-qPCR. Broad Institute webpage. Accessed April 23, 2020. | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | QuickExtract DNA Extraction Solution, 10uL | Lucigen QE09050, 50mL | 304 | 5000 | 0.0608
|  | Axygen PCR Tube with 0.5mL Flat Cap | Fisher Scientific #14222292 | 740.31 | 10000 | 0.074031
|  | TaqPath™ 1-Step RT-qPCR Master Mix, CG | Thermo Fisher A15300, 1x10mL | 3875 | 2000 | 1.9375
|  | 2019-nCoV RUO Kit (2 primers and 1 probe) | IDT #10006713 | 99 | 500 | 0.198
|  | Nuclease-free water | ThermoFisher Scientific #10977015 | 39.23 | 50000 | 0.0007846
|  | 0.2 ml PCR reaction plates | Fisher Scientific #4366932 | 946 | 19200 | 0.049271
|  | MicroAmp Optical 8-cap Strips | Thermo Fisher #4323032 | 126 | 2400 | 0.0525
|  | Total |  |  |  | 4.0037
| Grant PR, Turner MA, Shin GY, Nastouli E, Levett LJ. Extraction-free COVID-19 (SARS-CoV-2) diagnosis by RT-PCR to increase capacity for national testing programmes during a pandemic. bioRxiv. 2020. doi:10.1101/2020.04.06.028316 | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | 4x TaqMan Fast Virus 1-step Master Mix, 5uL | Thermo Fisher Scientific #4444436, 10mL | 3395 | 2000 | 1.6975
|  | N gene Taq1 primer (0.25uM), 20uL | IDT, 25nmol | 7.77 | 5000 | 0.001554
|  | N gene Taq2 primer (0.25uM), 20uL | IDT, 25nmol | 8.14 | 5000 | 0.001628
|  | N gene Probe (0.25uM), 20uL | IDT, 10nmol | 215 | 2000 | 0.1075
|  | Nuclease-free water | ThermoFisher Scientific #10977015 | 39.23 | 100000 | 0.0003923
|  | 0.2 ml PCR reaction plates | Fisher Scientific #4366932 | 946 | 19200 | 0.049271
|  | MicroAmp Optical 8-cap Strips | Thermo Fisher #4323032 | 126 | 2400 | 0.0525
|  | Total |  |  |  | 3.5411
| Brown JR, O’sullivan D, Pereira RP, et al. Comparison of SARS-CoV2 N gene real-time RT-PCR targets and commercially available mastermixes. bioRxiv. April 2020. doi:10.1101/2020.04.17.047118 | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
|  | Mag-Bind Viral DNA/RNA kit | Omega Biotek M6246-03 | 2193.2 | 1152 | 1.9038
|  | One Step PrimeScript III RT-PCR Kit | Takara RR600B | 1493 | 1000 | 1.493
|  | N2 Forward primer (0.5uM), 25uL | IDT, 25nmol | 7.77 | 2000 | 0.003885
|  | N2 Reverse primer (0.5uM), 25uL | IDT, 25nmol | 8.14 | 2000 | 0.00407
|  | N gene Probe (0.125uM), 25uL | IDT, 10nmol | 215 | 3200 | 0.067187
|  | Nuclease-free water | ThermoFisher Scientific #10977015 | 39.23 | 413.2231 | 0.094988
|  | 0.2 ml PCR reaction plates | Fisher Scientific #4366932 | 946 | 19200 | 0.049271
|  | MicroAmp Optical 8-cap Strips | Thermo Fisher #4323032 | 126 | 2400 | 0.0525
|  | Total |  |  |  | 4.7997
RT-LAMP | Park G-S, Ku K, Baek S-H, et al. Development of Reverse Transcription Loop-Mediated Isothermal Amplification Assays Targeting SARS-CoV-2. J Mol Diagnostics. April 2020. doi:10.1016/j.jmoldx.2020.03.006 | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | QIAamp DSP Viral RNA Mini Kit | QIAGEN #61904 | 286 | 50 | 5.72
|  | 1x Isothermal Amplification Buffer II, 15 uL | NEB B0374S, 10x | 33.53 | 4000 | 0.0083825
|  | SYTO-9 Green Fluorescent Nucleic Acid Stain (0.4uM), 15uL | Fisher Scientific #S34854, 5mM, 100uL | 297 | 83333.3333 | 0.003564
|  | Forward Inner Primer (FIP) (1.6uM), 15uL | IDT, 25nmol | 15.54 | 1041.6667 | 0.014928
|  | Backward Inner Primer (BIP) (1.6uM), 15uL | IDT, 25nmol | 14.43 | 1041.6667 | 0.013862
|  | F3 Primer (0.2uM), 15uL | IDT, 25nmol | 7.4 | 8333.3333 | 0.00088804
|  | B3 Primer (0.2uM), 15uL | IDT, 25nmol | 7.03 | 8333.3333 | 0.00084363
|  | Forward Loop Primer (LF) (0.4uM), 15uL | IDT, 25nmol | 7.77 | 4166.6667 | 0.0018651
|  | Backward Loop Primer (LB) (0.4uM), 15uL | IDT, 25nmol | 9.25 | 4166.6667 | 0.0022204
|  | Bst 3.0 DNA polymerase 6U | NEB M0374M, 8000U | 278 | 1333.3333 | 0.20855
|  | MgSO4 (6mM), 15uL | NEB B1003S, 100mM, 6mL | 23 | 6666.6667 | 0.0034503
|  | dNTP mix (1.4mM), 15uL | NEB N0447L, 40umol of each | 250 | 1904.7619 | 0.1313
|  | SuperScript IV Reverse Transcriptase 20U | Thermo Fisher Scientific #18090200 | 1372 | 2000 | 0.686
|  | Crystal Violet (0.5 mM), 3uL | Sigma-Aldrich C0775-100G | 136 | 163406702.943 | 8.3228e-07
|  | Sodium sulfite (60 mM), 3uL | Supelco SX0785-5 | 300 | 13223315349.6245 | 2.2687e-08
|  | Beta-cyclodextrin (5 mM), 3uL | Sigma-Aldrich C4767-500G | 465 | 29369093.1411 | 1.5833e-05
|  | 0.2 ml PCR reaction plates | Fisher Scientific #4366932 | 946 | 19200 | 0.049271
|  | MicroAmp Optical 8-cap Strips | Thermo Fisher #4323032 | 126 | 2400 | 0.0525
|  | Total |  |  |  | 8.5284
RT-LAMP with CRISPR detection | Broughton JP, Deng X, Yu G, et al. CRISPR-Cas12-based detection of SARS-CoV-2. Nat Biotechnol. April 2020:1-5. doi:10.1038/s41587-020-0513-4 | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | QIAamp DSP Viral RNA Mini Kit | QIAGEN #61904 | 286 | 50 | 5.72
|  | WarmStart RTx Reverse Transcriptase, 0.2uL | NEB M0380L | 266 | 625 | 0.4256
|  | 10x Isothermal Amplification Buffer, 1uL | NEB B0537S | 28 | 6000 | 0.0046667
|  | Bst 2.0 WarmStart DNA Polymerase 20U | NEB M0538L, 8U/uL, 8000U | 312 | 2500 | 0.1248
|  | Forward Inner Primer (FIP) (1.6uM), 10uL | IDT, 25nmol | 15.54 | 1562.5 | 0.0099488
|  | Backward Inner Primer (BIP) (1.6uM), 10uL | IDT, 25nmol | 14.43 | 1562.5 | 0.0092382
|  | F3 Primer (0.2uM), 10uL | IDT, 25nmol | 7.4 | 12500 | 0.000592
|  | B3 Primer (0.2uM), 10uL | IDT, 25nmol | 7.03 | 12500 | 0.0005624
|  | Forward Loop Primer (LF) (0.4uM), 10uL | IDT, 25nmol | 7.77 | 6250 | 0.0012432
|  | Backward Loop Primer (LB) (0.4uM), 10uL | IDT, 25nmol | 9.25 | 6250 | 0.00148
|  | dNTP mix (1.4mM each), 10uL | NEB N0447L, 40umol of each | 250 | 2857.1429 | 0.087504
|  | MgSO4 (6.5mM), 10uL | NEB B1003S, 100mM, 6mL | 23 | 9230.7692 | 0.0024919
|  | Nuclease-free water | ThermoFisher Scientific #10977015 | 39.23 | 5208.3333 | 0.0075326
|  | LbCas12a (50nM), 18uL | NEB M0653T, 2000pmol, 100uM | 250 | 2222.2222 | 0.11251
|  | LbCas12a crRNA (62.5nM), 18uL | Synthego, 5nmol | 199 | 4444.4444 | 0.044779
|  | Lateral flow cleavage reporter (500nM), 18uL | IDT, 250nmol | 165.6 | 27777.7778 | 0.0059618
|  | 1x NEBuffer 2.1, 9.8uL | NEB B7202S 10X, 5ml | 24 | 5102.0408 | 0.004704
|  | Milenia HybriDetect 1 | TwistDx MILENIA01 | 274.98 | 100 | 2.7498
|  | Axygen PCR Tube with 0.5mL Flat Cap | Fisher Scientific, #14222292 | 740.31 | 10000 | 0.074031
|  | Eppendorf Safe-Lock Tubes 1.5 mL PCR clean colorless | Eppendorf #022363212 | 74 | 500 | 0.148
|  | Total |  |  |  | 11.1662
RT-RPA with CRISPR detection | Zhang​ F, Abudayyeh​ OO, Gootenberg​ JS. A Protocol for Detection of COVID-19 Using CRISPR Diagnostics.; 2020. https://www.broadinstitute.org/files/publications/special/COVID-19 detection (updated).pdf. Accessed April 23, 2020. | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | QIAamp DSP Viral RNA Mini Kit | QIAGEN #61904 | 286 | 50 | 5.72
|  | TwistAmp Basic | TwistDx TABAS03KIT | 300.23 | 480 | 0.62548
|  | ProtoScript II Reverse Transcriptase | NEB M0368X | 643 | 2000 | 0.3215
|  | RPA Forward Primer (10uM), 0.5uL | IDT, 25nmol | 20.35 | 5000 | 0.00407
|  | RPA Reverse Primer (10uM), 0.5uL | IDT, 25nmol | 11.47 | 5000 | 0.002294
|  | Nuclease-free water | ThermoFisher Scientific #10977015 | 39.23 | 20833.3333 | 0.0018831
|  | Cleavage buffer (diluted 1M Tris pH7.4), 0.8uL | Sigma-Aldrich T2194-1L | 78.5 | 1250000 | 6.28e-05
|  | SUPERase-In Rnase Inhiitor 20U | ThermoFisher Scientific AM2696 | 448 | 500 | 0.896
|  | NxGen T7 RNA Polymerase 30U | Lucigen #30223-2 | 508 | 4166.6667 | 0.12194
|  | Ribonucleotide Solution Set (100mM each), 0.8 uL | NEB N0450L | 283 | 625 | 0.4528
|  | MgCl2 solution (1M), 0.12uL | Sigma-Aldrich 63069-500ML | 436 | 4166666.6667 | 0.00010464
Storage Buffer for LwaCas13a, 2uL
|  | 1M Tris pH7.4, 0.1uL | Sigma-Aldrich T2194-1L | 78.5 | 10000000 | 7.85e-06
|  | NaCl (5M),0.24uL | Sigma-Aldrich S9888-50KG | 549 | 712981975.8157 | 7.7001e-07
|  | Glycerol, 0.1uL | Sigma-Aldrich G5516-4L | 387 | 40000000 | 9.675e-06
|  | DTT (1M), 0.004uL | Sigma-Aldrich D0632-100G | 1170 | 162074554.295 | 7.2189e-06
|  | LwaCas13a, 131ng | RayBiotech #230-00992-10 | 173.58 | 382.8125 | 0.4544
|  | LwaCas13a crRNA, 10ng | Synthego, 5nmol | 199 | 10191.5 | 0.019527
|  | Reporter RNA for lateral flow readout (20 uM), 1uL | IDT, 100nmol | 369 | 5000 | 0.0738
|  | HybriDetect Dipstick | Milenia Biotec GmbH MGHD_1 | 222.94 | 100 | 2.2294
|  | Axygen PCR Tube with 0.5mL Flat Cap | Fisher Scientific #14222292 | 740.31 | 10000 | 0.074031
|  | Eppendorf Safe-Lock Tubes 1.5 mL PCR clean colorless | Eppendorf #022363212 | 74 | 500 | 0.148
|  | Total |  |  |  | 12.7761
| Metsky HC, Freije CA, Kosoko-Thoroddsen T-SF, Sabeti PC, Myhrvold C. CRISPR-based surveillance for COVID-19 using genomically-comprehensive machine learning design. bioRxiv. March 2020. doi:10.1101/2020.02.26.967026 | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | QIAamp DSP Viral RNA Mini Kit | QIAGEN #61904 | 286 | 50 | 5.72
|  | ReverAid Reverse Transcriptase, 100U | Thermo EP0442, 200U/uL, 50000U | 349 | 500 | 0.698
|  | TwistAmp Basic (including MgAc) | TwistDx TABAS03KIT | 300.23 | 240 | 1.251
|  | RPA Forward Primer (5uM), 2.4uL | IDT, 25nmol | 20.35 | 2083.3333 | 0.0097696
|  | RPA Reverse Primer (5uM), 2.4uL | IDT, 25nmol | 11.47 | 2083.3333 | 0.0055065
|  | Rnase inhibitor, Murine 148U | NEB M0314L, 15000U | 286 | 101.3514 | 2.8317
|  | Nuclease-free water | ThermoFisher Scientific #10977015 | 39.23 | 40916.5303 | 0.00095879
Cleavage buffer 10X (400 mM Tris pH7.5, 10 mM DTT), 2.4uL
|  | 1M Tris pH7.4, 0.96uL | Sigma-Aldrich T2194-1L | 78.5 | 1041666.6667 | 7.536e-05
|  | DTT (10mM), 2.4uL | Sigma-Aldrich D0632-100G | 1170 | 27012425.7158 | 4.3313e-05
|  | Ribonucleotide Solution Set (25mM each), 0.96 uL | NEB N0450L | 283 | 2083.3333 | 0.13586
|  | Cleavage reporter RNA | IDT, 100nmol | 369
|  | For lateral flow readout: 16uM, 1.5uL |  |  | 4166.6667 | 0.088574
|  | For fluorescent readout: 2uM, 1.5uL |  |  | 33333.3333 | 0.01107
|  | LwaCas13a, 1.2ug | RayBiotech #230-00992-10 | 173.58 | 41.6667 | 4.2337
|  | LwaCas13a crRNA (2uM), 0.24uL | Synthego, 5nmol | 199 | 10416.6667 | 0.019105
|  | NxGen T7 RNA Polymerase 36U | Lucigen #30223-2 | 508 | 3472.2222 | 0.14631
|  | MgCl2 solution (1M), 0.216uL | Sigma-Aldrich 63069-500ML | 436 | 2314814.8148 | 0.00018835
|  | Axygen PCR Tube with 0.5mL Flat Cap | Fisher Scientific, #14222292 | 740.31 | 10000 | 0.074031
|  | 0.2 ml PCR reaction plates | Fisher Scientific #4366932 | 946 | 19200 | 0.049271
|  | MicroAmp Optical 8-cap Strips | Thermo Fisher #4323032 | 126 | 2400 | 0.0525
|  | HybriDetect Dipstick | Milenia Biotec GmbH MGHD_1 | 222.94 | 100 | 2.2294
|  | Eppendorf Safe-Lock Tubes 1.5 mL PCR clean colorless | Eppendorf #022363212 | 74 | 500 | 0.148
|  | Total (for lateral flow readout) |  |  |  | 19.3247
|  | Total (for fluorescence readout) |  |  |  | 16.8698
| Lucia C, Federico PB, Alejandra GC. An ultrasensitive, rapid, and portable coronavirus SARS-CoV-2 sequence detection method based on CRISPR-Cas12. bioRxiv. 2020;(11):2020.02.29.971127. doi:10.1101/2020.02.29.971127 | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | QIAamp DSP Viral RNA Mini Kit | QIAGEN #61904 | 286 | 50 | 5.72
|  | TwistAmp Basic RPA kit | TwistDx Limited #TABAS03KIT | 300.23 | 96 | 3.1274
|  | M-MuLV reverse transcriptase, 500U | NEB M0253L, 50000U | 288 | 100 | 2.88
|  | Murine Rnase inhibitor, 40U | NEB M0314L, 15000U | 286 | 375 | 0.76267
|  | Nuclease-free water | ThermoFisher Scientific #10977015 | 39.23 | 27777.7778 | 0.0014123
|  | RPA Forward Primer (10uM), 2.4uL | IDT, 25nmol | 8.14 | 1041.6667 | 0.0078194
|  | RPA Reverse Primer (10uM), 2.4uL | IDT, 25nmol | 9.62 | 1041.6667 | 0.0092411
|  | 1x NEBuffer 2.1, 40uL | NEB B7202S 10X, 5ml | 24 | 1250 | 0.0192
|  | LbCas12a (37nM), 40uL | NEB M0653T, 2000pmol, 100uM | 250 | 1351.3514 | 0.18505
|  | LbCas12a crRNA (37nM), 40uL | Synthego, 5nmol | 199 | 3378.3784 | 0.058911
|  | ssDNA reporter (1uM), 40uL | IDT, 250nmol | 165.6 | 6250 | 0.026496
|  | Axygen PCR Tube with 0.5mL Flat Cap | Fisher Scientific, #14222292 | 740.31 | 10000 | 0.074031
|  | 0.2 ml PCR reaction plates | Fisher Scientific #4366932 | 946 | 19200 | 0.049271
|  | MicroAmp Optical 8-cap Strips | Thermo Fisher #4323032 | 126 | 2400 | 0.0525
|  | HybriDetect Dipstick | Milenia Biotec GmbH MGHD_1 | 222.94 | 100 | 2.2294
|  | Eppendorf Safe-Lock Tubes 1.5 mL PCR clean colorless | Eppendorf #022363212 | 74 | 500 | 0.148
|  | Total (for lateral flow readout) |  |  |  | 16.8804
|  | Total (for fluorescence readout) |  |  |  | 14.6048
RAMP | El-Tholoth M, Bau HH, Song J. A Single and Two-Stage, Closed-Tube, Molecular Test for the 2019 Novel Coronavirus (COVID-19) at Home, Clinic, and Points of Entry. ChemRxiv. February 2020. doi:10.26434/CHEMRXIV.11860137.V1 | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | QIAamp DSP Viral RNA Mini Kit | QIAGEN #61904 | 286 | 50 | 5.72
|  | 1x Isothermal MasterMix, 45 uL | OptiGene ISO-001 | 742.89 | 222.2222 | 3.3464
|  | EvaGreen dye 1x, 45uL | Biotium #31000, 5x1mL, 20x | 201 | 2222.2222 | 0.090459
|  | Forward Inner Primer (FIP) (1.6uM), 45uL | IDT, 25nmol | 15.54 | 347.2222 | 0.044784
|  | Backward Inner Primer (BIP) (1.6uM), 45uL | IDT, 25nmol | 14.43 | 347.2222 | 0.041585
|  | F3 Primer (0.2uM), 45uL | IDT, 25nmol | 7.4 | 2777.7778 | 0.0026647
|  | B3 Primer (0.2uM), 45uL | IDT, 25nmol | 7.03 | 2777.7778 | 0.0025315
|  | Forward Loop Primer (LF) (0.8uM), 45uL | IDT, 25nmol | 7.77 | 694.4444 | 0.011196
|  | Backward Loop Primer (LB) (0.8uM), 45uL | IDT, 25nmol | 9.25 | 694.4444 | 0.013329
|  | 1x Rehydrated twistAmp Basic buffer with MgAc, 5uL | TwistAmp® Basic kit, TwistDx TABAS03KIT | 300.23 | 912 | 0.3292
|  | F3 Primer (0.48uM), 5uL | IDT, 25nmol | 7.4 | 10416.6667 | 0.00071045
|  | B3 Primer (0.48uM), 5uL | IDT, 25nmol | 7.03 | 10416.6667 | 0.00067492
|  | Nuclease-free water | ThermoFisher Scientific #10977015 | 39.23 | 10000 | 0.003923
|  | Axygen PCR Tube with 0.5mL Flat Cap | Fisher Scientific, #14222292 | 740.31 | 10000 | 0.074031
|  | Total (for Ct readout) |  |  |  | 11.3122
Droplet digital PCR | Marzinotto S, Mio C, Cifù A, et al. A streamlined approach to rapidly detect SARS-CoV-2 infection, avoiding RNA purification. medRxiv. doi:10.1101/2020.04.06.20054114 | UTM-RT regular floqswab with conical tube by COPAN Diagnostics | VWR #76377-584 | 618.83 | 300 | 2.0628
|  | 0.2 ml PCR reaction plates | Fisher Scientific #4366932 | 946 | 19200 | 0.049271
|  | MicroAmp Optical 8-cap Strips | Thermo Fisher #4323032 | 126 | 2400 | 0.0525
|  | Hank's balanced salt solution w/ Ca and Mg and w/o phenol red, 10uL | Sigma-Aldrich 55037C-1000ML | 35.9 | 100000 | 0.000359
|  | Proteinase K from Tritirachium album 30ug | Sigma-Aldrich P2308-1G | 1180 | 33333.3333 | 0.0354
|  | One-Step RT-ddPCR Advanced Kit for Probes | Bio-Rad 186-4022 | 2925 | 500 | 5.85
|  | Forward primer (0.9uM), 20uL | IDT, 25nmol | 7.77 | 1388.8889 | 0.005598
|  | Reverse primer (0.9uM), 20uL | IDT, 25nmol | 8.14 | 1388.8889 | 0.0058646
|  | Probe (0.25uM), 20uL | IDT, 10nmol | 215 | 2000 | 0.1075
|  | Nuclease-free Water | ThermoFisher Scientific #10977015 | 39.23 | 50000 | 0.0007846
|  | Droplet Generator Oil for Probes | Bio-Rad 1863005, 70mL | 324 | 960 | 0.3375
|  | 0.2 ml PCR reaction plates | Fisher Scientific #4366932 | 946 | 19200 | 0.049271
|  | MicroAmp Optical 8-cap Strips | Thermo Fisher #4323032 | 126 | 2400 | 0.0525
|  | Axygen PCR Tube with 0.5mL Flat Cap | Fisher Scientific, #14222292 | 740.31 | 10000 | 0.074031
|  | Total |  |  |  | 8.6833
| Suo T, Liu X, Guo M, et al. ddPCR: a more sensitive and accurate tool for SARS-CoV-2 detection in low viral load specimens. medRxiv. March 2020:2020.02.29.20029439. doi:10.1101/2020.02.29.20029439 | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | QIAamp DSP Viral RNA Mini Kit | QIAGEN #61904 | 286 | 50 | 5.72
|  | 2019-nCoV CDC qPCR Probe Assay | IDT #10006606 | 125 | 500 | 0.25
|  | No dUTP probe | Bio-Rad #1863024 | 520 | 500 | 1.04
|  | QX200 droplet generator plate | Bio-Rad #1864008 | 272 | 2304 | 0.11806
|  | Total |  |  |  | 8.7588
Sequencing | Octant SwabSeq Testing. https://www.notion.so/Octant-SwabSeq-Testing-9eb80e793d7e46348038aa80a5a901fd. Accessed April 23, 2020. | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | Cells-to-cDNA™ II Cell Lysis Buffer, 500uL | ThermoFisher Scientific AM8723 | 1010 | 100 | 10.1
|  | Luna One Step RT-PCR kit | NEB E3005E | 2074 | 2500 | 0.8296
|  | S2 primer | IDT |  |  | 0.001554
|  | N1 primer | IDT |  |  | 0.001628
|  | RPP3 primer | IDT |  |  | 0.000407
|  | Synthetic RNA spike in | Taqman DNA spike in as price reference | 722 | 2000000 | 0.000361
|  | AxyPrep Mag PCR clean up kit | AxyPrep Mag-PCR-CL-250 | 3199 | 27777.7778 | 0.11517
|  | deNovix dsDNA high sensitivity assay |  | 435 | 1000 | 0.435
|  | MiSeq, 26 cycles | UC Berkeley QB3 MiSeq v3 (150 cycles, 1 lane) as price reference | 1500 | 384 | 3.9062
|  | Total |  |  |  | 17.0208
| Chandler-Brown D, Bueno AM, Atay O, STsao D. A Highly Scalable and Rapidly Deployable RNA Extraction-Free COVID-19 Assay by Quantitative Sanger Sequencing. bioRxiv. April 2020. doi:10.1101/2020.04.07.029199 | Nasopharyngeal Swab | Puritan P25-800-A-50-Case | 259.99 | 500 | 0.51998
|  | Falcon 15ml conical centrifuge tube | Fisher Scientific #1495949B | 305.5 | 500 | 0.611
Viral Transport Media (VTM), 3mL
|  | Hank's balanced salt solution, 3mL | Sigma-Aldrich H6648-6x1L | 210 | 2000 | 0.105
|  | BSA (1%), 3mL | Sigma-Aldrich A1933-100G | 1220 | 3333.3333 | 0.36604
|  | Amphotericin (15 μg/mL), 3mL | Sigma-Aldrich A9528-5G, powder | 3150 | 111111.1111 | 0.02835
|  | Penicillin G (100 units/mL), 3mL | Sigma-Aldrich PENK-100MU | 102 | 333333.3333 | 0.000306
|  | Streptomycin (50 μg/mL), 3mL | Sigma-Aldrich S9137-100G, powder | 78.5 | 666666.6667 | 0.00011775
|  | short_N_spk_2_F | IDT, 25nmol | 8.15 | 5000 | 0.00163
|  | short_N_spk_1_R | IDT, 25nmol | 8.51 | 5000 | 0.001702
|  | short_N_spk_2_F_wBarcode_CCGTA | IDT, 100nmol | 60.9 | 20000 | 0.003045
|  | Luna One Step RT-PCR kit | NEB E3005E | 2074 | 2500 | 0.8296
|  | Sanger sequencing | UC Berkeley QB3 Sanger sequencing core cost/reaction as price reference |  |  | 3.6
|  | Total |  |  |  | 6.0668